## in
ID | Name | CI Type | Description | Disposition | IP Address
34787 | CLD11VPN03 | VPN Appliance | Secomea Site Manager 3529 | Production | 10.162.13.25
36663 | CLD11PE392P | Process Equipment | AB Compactlogix L33ER | Production | 10.162.15.10
36653 | CLD11SW152P | Switch / Hub | AB Stratix 2500 | Production | 10.162.15.11
36664 | CLD11PE394P | Process Equipment | SICK CLV650 | Production | 10.162.15.12
36665 | CLD11PE395P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.13
36666 | CLD11PE396P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.14
| CLD11SW235P | SWITCH | NTRON SWITCH MCP14 |  | 10.162.15.15
| CLD11SW236P | SWITCH | NTRON SWITCH MCP14 |  | 10.162.15.16
36667 | CLD11PE397P | Process Equipment | PLX32-EIP-PND | Production | 10.162.15.18
36668 | CLD11PE398P | Process Equipment | AB Compactlogix L33ER | Production | 10.162.15.20
36654 | CLD11SW144P | Switch / Hub | AB Stratix 2500 | Production | 10.162.15.21
36669 | CLD11PE400P | Process Equipment | SICK CLV650 | Production | 10.162.15.22
36670 | CLD11PE401P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.23
36671 | CLD11PE402P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.24
36672 | CLD11PE403P | Process Equipment | PLX32-EIP-PND | Production | 10.162.15.28
36673 | CLD11PE404P | Process Equipment | AB Compactlogix L33ER | Production | 10.162.15.30
36655 | CLD11SW145P | Switch / Hub | AB Stratix 2500 | Production | 10.162.15.31
36674 | CLD11PE406P | Process Equipment | SICK CLV650 | Production | 10.162.15.32
36675 | CLD11PE407P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.33
36676 | CLD11PE408P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.34
36677 | CLD11PE409P | Process Equipment | PLX32-EIP-PND | Production | 10.162.15.38
36678 | CLD11PE410P | Process Equipment | AB Compactlogix L33ER | Production | 10.162.15.40
36656 | CLD11SW146P | Switch / Hub | AB Stratix 2500 | Production | 10.162.15.41
36679 | CLD11PE412P | Process Equipment | SICK CLV650 | Production | 10.162.15.42
36680 | CLD11PE413P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.43
36681 | CLD11PE414P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.44
36682 | CLD11PE415P | Process Equipment | PLX32-EIP-PND | Production | 10.162.15.48
36683 | CLD11PE416P | Process Equipment | AB Compactlogix L33ER | Production | 10.162.15.50
36657 | CLD11SW147P | Switch / Hub | AB Stratix 2500 | Production | 10.162.15.51
36684 | CLD11PE418P | Process Equipment | SICK CLV650 | Production | 10.162.15.52
36685 | CLD11PE419P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.53
36686 | CLD11PE420P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.54
36687 | CLD11PE421P | Process Equipment | PLX32-EIP-PND | Production | 10.162.15.58
36688 | CLD11PE422P | Process Equipment | AB Compactlogix L33ER | Production | 10.162.15.60
36658 | CLD11SW148P | Switch / Hub | AB Stratix 2500 | Production | 10.162.15.61
36689 | CLD11PE424P | Process Equipment | SICK CLV650 | Production | 10.162.15.62
36690 | CLD11PE425P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.63
36691 | CLD11PE426P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.64
36692 | CLD11PE427P | Process Equipment | PLX32-EIP-PND | Production | 10.162.15.68
36693 | CLD11PE428P | Process Equipment | AB Compactlogix L33ER | Production | 10.162.15.70
36659 | CLD11SW149P | Switch / Hub | AB Stratix 2500 | Production | 10.162.15.71
36694 | CLD11PE430P | Process Equipment | SICK CLV650 | Production | 10.162.15.72
36695 | CLD11PE431P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.73
36696 | CLD11PE432P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.74
36697 | CLD11PE433P | Process Equipment | PLX32-EIP-PND | Production | 10.162.15.78
36698 | CLD11PE434P | Process Equipment | AB Compactlogix L33ER | Production | 10.162.15.80
36660 | CLD11SW150P | Switch / Hub | AB Stratix 2500 | Production | 10.162.15.81
36699 | CLD11PE436P | Process Equipment | SICK CLV650 | Production | 10.162.15.82
36700 | CLD11PE437P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.83
36701 | CLD11PE438P | Process Equipment | AB PowerFlex 523 (25-COMM-E2P CARD) | Production | 10.162.15.84
34787 | CLD11VPN03 | VPN Appliance | Secomea Site Manager 3529 | Production | 10.162.15.9
36702 | CLD11PE399P | Process Equipment | MCP9 AB 1756-L81E | Production | 10.162.15.90
36661 | CLD11SW151P | Switch / Hub | AB Stratix 2500 | Production | 10.162.15.91
36703 | CLD11PE405P | Process Equipment | SICK CLV650 | Production | 10.162.15.92
36704 | CLD11PE411P | Process Equipment | AB PowerFlex 525 | Production | 10.162.15.93
36705 | CLD11PE417P | Process Equipment | SEW Movidrive MDX61B | Production | 10.162.15.94
36706 | CLD11PE423P | Process Equipment | SEW Movidrive MDX61B | Production | 10.162.15.95
36707 | CLD11PE429P | Process Equipment | AB PowerFlex 525 | Production | 10.162.15.96
36708 | CLD11PE435P | Process Equipment | AB 1756-EN2TR | Production | 10.162.15.98
36709 | CLD11PE439P | Process Equipment | 1734-AENTR | Production | 10.162.15.100
38079 | CLD11CD863P | Process Control Device | HBF Truck Dock Profile Station | Production | 10.162.15.102
36710 | CLD11PE440P | Process Equipment | 1734-AENTR | Production | 10.162.15.110
36711 | CLD11PE441P | Process Equipment | 1734-AENTR | Production | 10.162.15.111
36712 | CLD11PE442P | Process Equipment | 1734-AENTR | Production | 10.162.15.112
36713 | CLD11PE443P | Process Equipment | 1734-AENTR | Production | 10.162.15.113
34787 | CLD11VPN03 | VPN Appliance | Secomea Site Manager 3529 | Production | 10.162.240.9
34787 | CLD11VPN03 | VPN Appliance | Secomea Site Manager 3529 | Production | 10.62.129.128
34787 | CLD11VPN03 | VPN Appliance | Secomea Site Manager 3529 | Production | 10.62.192.192

## NEW
Project Name:
Equipment / P&ID ID | Description | Device Type/Model | Network | Port Configuration | Hostname | IP Address | Subnet | Gateway | MAC Address | IDF Patch Port | Field Switch | Field Port
[6 empty] | 10.162.15.3 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.4 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.5 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.6 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.7 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.8 | 255.255.255.0 | 10.162.15.1
34787 |  | Secomea Site Manager 3529 |  |  | CLD11VPN03 | 10.162.15.9 | 255.255.255.0 | 10.162.15.1
36663 |  | AB Compactlogix L33ER |  |  | CLD11PE392P | 10.162.15.10 | 255.255.255.0 | 10.162.15.1
36653 |  | AB Stratix 2500 |  |  | CLD11SW152P | 10.162.15.11 | 255.255.255.0 | 10.162.15.1
36664 |  | SICK CLV650 |  |  | CLD11PE394P | 10.162.15.12 | 255.255.255.0 | 10.162.15.1
36665 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE395P | 10.162.15.13 | 255.255.255.0 | 10.162.15.1
36666 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE396P | 10.162.15.14 | 255.255.255.0 | 10.162.15.1
| CLD11SW235P | SWITCH | NTRON SWITCH MCP14 |  | 10.162.15.15 | 10.162.15.15 | 255.255.255.0 | 10.162.15.1
| CLD11SW236P | SWITCH | NTRON SWITCH MCP14 |  | 10.162.15.16 | 10.162.15.16 | 255.255.255.0 | 10.162.15.1
MCP-17 SC-7143 | CRANE 1 BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.17 | 255.255.255.0 | 10.162.15.1
36667 |  | PLX32-EIP-PND |  |  | CLD11PE397P | 10.162.15.18 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.19 | 255.255.255.0 | 10.162.15.1
36668 |  | AB Compactlogix L33ER |  |  | CLD11PE398P | 10.162.15.20 | 255.255.255.0 | 10.162.15.1
36654 |  | AB Stratix 2500 |  |  | CLD11SW144P | 10.162.15.21 | 255.255.255.0 | 10.162.15.1
36669 |  | SICK CLV650 |  |  | CLD11PE400P | 10.162.15.22 | 255.255.255.0 | 10.162.15.1
36670 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE401P | 10.162.15.23 | 255.255.255.0 | 10.162.15.1
36671 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE402P | 10.162.15.24 | 255.255.255.0 | 10.162.15.1
MCP-14/ M502 | ROLLER CONVEYOR |  |  |  |  | 10.162.15.25 | 255.255.255.0 | 10.162.15.1
MCP-14/ M503C | LIFT ROLLER CONVEYOR |  |  |  |  | 10.162.15.26 | 255.255.255.0 | 10.162.15.1
MCP-17 SC-7148 | CRANE 2 BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.27 | 255.255.255.0 | 10.162.15.1
36672 |  | PLX32-EIP-PND |  |  | CLD11PE403P | 10.162.15.28 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.29 | 255.255.255.0 | 10.162.15.1
36673 |  | AB Compactlogix L33ER |  |  | CLD11PE404P | 10.162.15.30 | 255.255.255.0 | 10.162.15.1
36655 |  | AB Stratix 2500 |  |  | CLD11SW145P | 10.162.15.31 | 255.255.255.0 | 10.162.15.1
36674 |  | SICK CLV650 |  |  | CLD11PE406P | 10.162.15.32 | 255.255.255.0 | 10.162.15.1
36675 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE407P | 10.162.15.33 | 255.255.255.0 | 10.162.15.1
36676 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE408P | 10.162.15.34 | 255.255.255.0 | 10.162.15.1
MCP-14/ M504 | ROLLER CONVEYOR |  |  |  |  | 10.162.15.35 | 255.255.255.0 | 10.162.15.1
MCP-14/ M505 | ROLLER CONVEYOR |  |  |  |  | 10.162.15.36 | 255.255.255.0 | 10.162.15.1
MCP-18 SC-7153 | CRANE 3 BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.37 | 255.255.255.0 | 10.162.15.1
36677 |  | PLX32-EIP-PND |  |  | CLD11PE409P | 10.162.15.38 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.39 | 255.255.255.0 | 10.162.15.1
36678 |  | AB Compactlogix L33ER |  |  | CLD11PE410P | 10.162.15.40 | 255.255.255.0 | 10.162.15.1
36656 |  | AB Stratix 2500 |  |  | CLD11SW146P | 10.162.15.41 | 255.255.255.0 | 10.162.15.1
36679 |  | SICK CLV650 |  |  | CLD11PE412P | 10.162.15.42 | 255.255.255.0 | 10.162.15.1
36680 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE413P | 10.162.15.43 | 255.255.255.0 | 10.162.15.1
36681 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE414P | 10.162.15.44 | 255.255.255.0 | 10.162.15.1
MCP-14/ M506A | DISPENSER |  |  |  |  | 10.162.15.45 | 255.255.255.0 | 10.162.15.1
MCP-14/ M506B | ROLLER CONVEYOR |  |  |  |  | 10.162.15.46 | 255.255.255.0 | 10.162.15.1
MCP-18 SC-7158 | CRANE 4 BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.47 | 255.255.255.0 | 10.162.15.1
36682 |  | PLX32-EIP-PND |  |  | CLD11PE415P | 10.162.15.48 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.49 | 255.255.255.0 | 10.162.15.1
36683 |  | AB Compactlogix L33ER |  |  | CLD11PE416P | 10.162.15.50 | 255.255.255.0 | 10.162.15.1
36657 |  | AB Stratix 2500 |  |  | CLD11SW147P | 10.162.15.51 | 255.255.255.0 | 10.162.15.1
36684 |  | SICK CLV650 |  |  | CLD11PE418P | 10.162.15.52 | 255.255.255.0 | 10.162.15.1
36685 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE419P | 10.162.15.53 | 255.255.255.0 | 10.162.15.1
36686 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE420P | 10.162.15.54 | 255.255.255.0 | 10.162.15.1
MCP-14/ M507 | ROLLER CONVEYOR |  |  |  |  | 10.162.15.55 | 255.255.255.0 | 10.162.15.1
MCP-14/ M508A | CHAIN CONVEYOR |  |  |  |  | 10.162.15.56 | 255.255.255.0 | 10.162.15.1
MCP-19 SC-7163 | CRANE 5 BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.57 | 255.255.255.0 | 10.162.15.1
36687 |  | PLX32-EIP-PND |  |  | CLD11PE421P | 10.162.15.58 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.59 | 255.255.255.0 | 10.162.15.1
36688 |  | AB Compactlogix L33ER |  |  | CLD11PE422P | 10.162.15.60 | 255.255.255.0 | 10.162.15.1
36658 |  | AB Stratix 2500 |  |  | CLD11SW148P | 10.162.15.61 | 255.255.255.0 | 10.162.15.1
36689 |  | SICK CLV650 |  |  | CLD11PE424P | 10.162.15.62 | 255.255.255.0 | 10.162.15.1
36690 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE425P | 10.162.15.63 | 255.255.255.0 | 10.162.15.1
36691 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE426P | 10.162.15.64 | 255.255.255.0 | 10.162.15.1
MCP-14/ M508C | CAM |  |  |  |  | 10.162.15.65 | 255.255.255.0 | 10.162.15.1
MCP-14/ M509 | CHAIN CONVEYOR |  |  |  |  | 10.162.15.66 | 255.255.255.0 | 10.162.15.1
MCP-19 SC-7168 | CRANE 6 BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.67 | 255.255.255.0 | 10.162.15.1
36692 |  | PLX32-EIP-PND |  |  | CLD11PE427P | 10.162.15.68 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.69 | 255.255.255.0 | 10.162.15.1
36693 |  | AB Compactlogix L33ER |  |  | CLD11PE428P | 10.162.15.70 | 255.255.255.0 | 10.162.15.1
36659 |  | AB Stratix 2500 |  |  | CLD11SW149P | 10.162.15.71 | 255.255.255.0 | 10.162.15.1
36694 |  | SICK CLV650 |  |  | CLD11PE430P | 10.162.15.72 | 255.255.255.0 | 10.162.15.1
36695 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE431P | 10.162.15.73 | 255.255.255.0 | 10.162.15.1
36696 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE432P | 10.162.15.74 | 255.255.255.0 | 10.162.15.1
MCP-14/ M510 | ROLLER CONVEYOR |  |  |  |  | 10.162.15.75 | 255.255.255.0 | 10.162.15.1
MCP-14/ M511A | CHAIN CONVEYOR |  |  |  |  | 10.162.15.76 | 255.255.255.0 | 10.162.15.1
MCP-20 SC-7173 | CRANE 7 BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.77 | 255.255.255.0 | 10.162.15.1
36697 |  | PLX32-EIP-PND |  |  | CLD11PE433P | 10.162.15.78 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.79 | 255.255.255.0 | 10.162.15.1
36698 |  | AB Compactlogix L33ER |  |  | CLD11PE434P | 10.162.15.80 | 255.255.255.0 | 10.162.15.1
36660 |  | AB Stratix 2500 |  |  | CLD11SW150P | 10.162.15.81 | 255.255.255.0 | 10.162.15.1
36699 |  | SICK CLV650 |  |  | CLD11PE436P | 10.162.15.82 | 255.255.255.0 | 10.162.15.1
36700 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE437P | 10.162.15.83 | 255.255.255.0 | 10.162.15.1
36701 |  | AB PowerFlex 523 (25-COMM-E2P CARD) |  |  | CLD11PE438P | 10.162.15.84 | 255.255.255.0 | 10.162.15.1
MCP-14/ M511B | CAM |  |  |  |  | 10.162.15.85 | 255.255.255.0 | 10.162.15.1
MCP-14/ M512 | ROLLER CONVEYOR |  |  |  |  | 10.162.15.86 | 255.255.255.0 | 10.162.15.1
MCP-20 SC-7178 | CRANE 8 BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.87 | 255.255.255.0 | 10.162.15.1
|  | PLX32-EIP-PND |  |  |  | 10.162.15.88 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.89 | 255.255.255.0 | 10.162.15.1
36702 |  | MCP9 AB 1756-L81E |  |  | CLD11PE399P | 10.162.15.90 | 255.255.255.0 | 10.162.15.1
36661 |  | AB Stratix 2500 |  |  | CLD11SW151P | 10.162.15.91 | 255.255.255.0 | 10.162.15.1
36703 |  | SICK CLV650 |  |  | CLD11PE405P | 10.162.15.92 | 255.255.255.0 | 10.162.15.1
36704 |  | AB PowerFlex 525 |  |  | CLD11PE411P | 10.162.15.93 | 255.255.255.0 | 10.162.15.1
36705 |  | SEW Movidrive MDX61B |  |  | CLD11PE417P | 10.162.15.94 | 255.255.255.0 | 10.162.15.1
36706 |  | SEW Movidrive MDX61B |  |  | CLD11PE423P | 10.162.15.95 | 255.255.255.0 | 10.162.15.1
36707 |  | AB PowerFlex 525 |  |  | CLD11PE429P | 10.162.15.96 | 255.255.255.0 | 10.162.15.1
TEMP AENT | [5 empty] | 10.162.15.97 | 255.255.255.0 | 10.162.15.1
36708 |  | AB 1756-EN2TR |  |  | CLD11PE435P | 10.162.15.98 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.99 | 255.255.255.0 | 10.162.15.1
36709 |  | 1734-AENTR |  |  | CLD11PE439P | 10.162.15.100 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.101 | 255.255.255.0 | 10.162.15.1
38079 | MCP-16 ME-7122 | HBF Truck Dock Profile Station |  |  | CLD11CD863P | 10.162.15.102 | 255.255.255.0 | 10.162.15.1
MCP-15 ME-7103 | RAIL DOCK PROFILE STATION | HBF RAIL DOCK PROFILE STATION |  |  |  | 10.162.15.103 | 255.255.255.0 | 10.162.15.1
MCP-15 SC-7103B | RAIL DOCK BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.104 | 255.255.255.0 | 10.162.15.1
MCP-16 ME-7122B | TRUCK DOCK BARCODE SCANNER | KEYENCE SR-X100W |  |  |  | 10.162.15.105 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.106 | 255.255.255.0 | 10.162.15.1
ADV/POINT IO |  | 1734-AENTR |  |  |  | 10.162.15.107 | 255.255.255.0 | 10.162.15.1 | 255.255.255.0 | 10.162.15.1
ADV/ PROSOFT_1 | ETHERNET/IP TO PROFINET GATEWAY | PLX32-EIP-PND |  |  |  | 10.162.15.108 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.109 | 255.255.255.0 | 10.162.15.1
36710 |  | 1734-AENTR |  |  | CLD11PE440P | 10.162.15.110 | 255.255.255.0 | 10.162.15.1
36711 |  | 1734-AENTR |  |  | CLD11PE441P | 10.162.15.111 | 255.255.255.0 | 10.162.15.1
36712 |  | 1734-AENTR |  |  | CLD11PE442P | 10.162.15.112 | 255.255.255.0 | 10.162.15.1
36713 |  | 1734-AENTR |  |  | CLD11PE443P | 10.162.15.113 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.114 | 255.255.255.0 | 10.162.15.1
TEMP ASI | [5 empty] | 10.162.15.115 | 255.255.255.0 | 10.162.15.1
MCP-14/M502 |  | POWERFLEX525 |  |  |  | 10.162.15.116 | 255.255.255.0 | 10.162.15.1
MCP-14/M503A |  | POWERFLEX525 |  |  |  | 10.162.15.117 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.118 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.119 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.120 | 255.255.255.0 | 10.162.15.1
ADV MCP-01 | NTRON 8 PORT MANAGED SWITCH | 708TX |  |  |  | 10.162.15.121 | 255.255.255.0 | 10.162.15.1
MCP-15/ SWITCH_1 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.122 | 255.255.255.0 | 10.162.15.1
MCP-15/ SWITCH_2 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.123 | 255.255.255.0 | 10.162.15.1
MCP-16/ SWITCH_1 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.124 | 255.255.255.0 | 10.162.15.1
MCP-16/ SWITCH_2 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.125 | 255.255.255.0 | 10.162.15.1
MCP-17/ SWITCH_1 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.126 | 255.255.255.0 | 10.162.15.1
MCP-17/ SWITCH_2 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.127 | 255.255.255.0 | 10.162.15.1
MCP-18/ SWITCH_1 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.128 | 255.255.255.0 | 10.162.15.1
MCP-18/ SWITCH_2 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.129 | 255.255.255.0 | 10.162.15.1
MCP-19/ SWITCH_1 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.130 | 255.255.255.0 | 10.162.15.1
MCP-19/ SWITCH_2 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.131 | 255.255.255.0 | 10.162.15.1
MCP-20/ SWITCH_1 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.132 | 255.255.255.0 | 10.162.15.1
MCP-20/ SWITCH_2 | NTRON 16 PORT MANAGED SWITCH | 716TX |  |  |  | 10.162.15.133 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.134 | 255.255.255.0 | 10.162.15.1
MCP-17/ PROSOFT_1 | ETHERNET/IP TO PROFINET GATEWAY | PLX32-EIP-PND |  |  |  | 10.162.15.135 | 255.255.255.0 | 10.162.15.1
MCP-17/ PROSOFT_2 | ETHERNET/IP TO PROFINET GATEWAY | PLX32-EIP-PND |  |  |  | 10.162.15.136 | 255.255.255.0 | 10.162.15.1
MCP-18/ PROSOFT_1 | ETHERNET/IP TO PROFINET GATEWAY | PLX32-EIP-PND |  |  |  | 10.162.15.137 | 255.255.255.0 | 10.162.15.1
MCP-18/ PROSOFT_2 | ETHERNET/IP TO PROFINET GATEWAY | PLX32-EIP-PND |  |  |  | 10.162.15.138 | 255.255.255.0 | 10.162.15.1
MCP-19/ PROSOFT_1 | ETHERNET/IP TO PROFINET GATEWAY | PLX32-EIP-PND |  |  |  | 10.162.15.139 | 255.255.255.0 | 10.162.15.1
MCP-19/ PROSOFT_2 | ETHERNET/IP TO PROFINET GATEWAY | PLX32-EIP-PND |  |  |  | 10.162.15.140 | 255.255.255.0 | 10.162.15.1
MCP-20/ PROSOFT_1 | ETHERNET/IP TO PROFINET GATEWAY | PLX32-EIP-PND |  |  |  | 10.162.15.141 | 255.255.255.0 | 10.162.15.1
MCP-20/ PROSOFT_2 | ETHERNET/IP TO PROFINET GATEWAY | PLX32-EIP-PND |  |  |  | 10.162.15.142 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.143 | 255.255.255.0 | 10.162.15.1
MCP-15/ ASM | AS-i Master | AC1422 |  |  |  | 10.162.15.144 | 255.255.255.0 | 10.162.15.1
MCP-15/ ASMXX_CFG | AS-i Master Configuration | AC1422 |  |  |  | 10.162.15.145 | 255.255.255.0 | 10.162.15.1
MCP-16/ ASM | AS-i Master | AC1422 |  |  |  | 10.162.15.146 | 255.255.255.0 | 10.162.15.1
MCP-16/ ASMXX_CFG | AS-i Master Configuration | AC1422 |  |  |  | 10.162.15.147 | 255.255.255.0 | 10.162.15.1
MCP-17/ ASM | AS-i Master | AC1422 |  |  |  | 10.162.15.148 | 255.255.255.0 | 10.162.15.1
MCP-17/ ASMXX_CFG | AS-i Master Configuration | AC1422 |  |  |  | 10.162.15.149 | 255.255.255.0 | 10.162.15.1
MCP-18/ ASM | AS-i Master | AC1422 |  |  |  | 10.162.15.150 | 255.255.255.0 | 10.162.15.1
MCP-18/ ASMXX_CFG | AS-i Master Configuration | AC1422 |  |  |  | 10.162.15.151 | 255.255.255.0 | 10.162.15.1
MCP-19/ ASM | AS-i Master | AC1422 |  |  |  | 10.162.15.152 | 255.255.255.0 | 10.162.15.1
MCP-19/ ASMXX_CFG | AS-i Master Configuration | AC1422 |  |  |  | 10.162.15.153 | 255.255.255.0 | 10.162.15.1
MCP-20/ ASM | AS-i Master | AC1422 |  |  |  | 10.162.15.154 | 255.255.255.0 | 10.162.15.1
MCP-20/ ASMXX_CFG | AS-i Master Configuration | AC1422 |  |  |  | 10.162.15.155 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.156 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.157 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.158 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.159 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7100 | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.160 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7101 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.161 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7102 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.162 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7103 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.163 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7104A | LIFT ROLLER CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.164 | 255.255.255.0 | 10.162.15.1 | from mpc17 | 2HP
MCP-15/ M7104B | LIFT MOTOR 1 AND 2 |  |  |  |  | 10.162.15.165 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7105 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.166 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7106 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.167 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7107 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.168 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7108A | TURN TABLE ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.169 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7108B | TURN TABLE ROTATE | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.170 | 255.255.255.0 | 10.162.15.1 |  | 2HP
MCP-15/ M7109A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.171 | 255.255.255.0 | 10.162.15.1
MCP-15/ M7109B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.172 | 255.255.255.0 | 10.162.15.1 |  | 2HP
MCP-15/ M7109C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.173 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7120 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.174 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7121 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.175 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7122 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.176 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7123A | LIFT ROLLER CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.177 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7123B | LIFT MOTOR 1 AND 2 |  |  |  |  | 10.162.15.178 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7124 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.179 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7125 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.180 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7126 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.181 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7127 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.182 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7128A | TURN TABLE ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.183 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7128B | TURN TABLE ROTATE | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.184 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7129A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.185 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7129B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.186 | 255.255.255.0 | 10.162.15.1
MCP-16/ M-7129C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.187 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7140 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.188 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7141 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.189 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7142A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.190 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7142B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.191 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7142C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.192 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7143A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.193 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7143B | STOPPER UP/DOWN |  |  |  |  | 10.162.15.194 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7145 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.195 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7146 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.196 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7147A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.197 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7147B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.198 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7147C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.199 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7148A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.200 | 255.255.255.0 | 10.162.15.1
MCP-17/ M-7148B | STOPPER UP/DOWN |  |  |  |  | 10.162.15.201 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7150 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.202 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7151 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.203 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7152A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.204 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7152B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.205 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7152C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.206 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7153A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.207 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7153B | STOPPER UP/DOWN |  |  |  |  | 10.162.15.208 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7155 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.209 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7156 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.210 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7157A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.211 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7157B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.212 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7157C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.213 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7158A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.214 | 255.255.255.0 | 10.162.15.1
MCP-18/ M-7158B | STOPPER UP/DOWN |  |  |  |  | 10.162.15.215 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7160 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.216 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7161 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.217 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7162A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.218 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7162B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.219 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7162C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.220 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7163A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.221 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7163B | STOPPER UP/DOWN |  |  |  |  | 10.162.15.222 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7165 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.223 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7166 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.224 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7167A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.225 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7167B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.226 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7167C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.227 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7168A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.228 | 255.255.255.0 | 10.162.15.1
MCP-19/ M-7168B | STOPPER UP/DOWN |  |  |  |  | 10.162.15.229 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7170 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.230 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7171 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.231 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7172A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.232 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7172B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.233 | 255.255.255.0 | 10.162.15.1 | 2hp
MCP-20/ M-7172C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.234 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7173A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.235 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7173B | STOPPER UP/DOWN |  |  |  |  | 10.162.15.236 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7175 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.237 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7176 | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.238 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7177A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.239 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7177B | CHAIN CONVEYOR | POWERFLEX 525/ 25B-D4P0N104 |  |  |  | 10.162.15.240 | 255.255.255.0 | 10.162.15.1 | 2hp
MCP-20/ M-7177C | CHAIN UP/DOWN |  |  |  |  | 10.162.15.241 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7178A | ROLLER CONVEYOR | POWERFLEX 525/ 25B-D2P3N104 |  |  |  | 10.162.15.242 | 255.255.255.0 | 10.162.15.1
MCP-20/ M-7178B | STOPPER UP/DOWN |  |  |  |  | 10.162.15.243 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.244 | 255.255.255.0 | 10.162.15.1
Destacker HMI | Destacker HMI | PC |  |  |  | 10.162.15.245 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.246 | 255.255.255.0 | 10.162.15.1
RJX TEMP PC | [5 empty] | 10.162.15.247 | 255.255.255.0 | 10.162.15.1
RJX TEMP PC | [5 empty] | 10.162.15.248 | 255.255.255.0 | 10.162.15.1
RJX TEMP PC | [5 empty] | 10.162.15.249 | 255.255.255.0 | 10.162.15.1
RJX TEMP PC | [5 empty] | 10.162.15.250 | 255.255.255.0 | 10.162.15.1
RJX TEMP PC | [5 empty] | 10.162.15.251 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.252 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.253 | 255.255.255.0 | 10.162.15.1
[6 empty] | 10.162.15.254 | 255.255.255.0 | 10.162.15.1